%N pgflag

%D Displays waterfall plots of uv data and allows flagging

%P jbs

%: flagging

%B

PGFLAG is a MIRIAD task that allows interactive baseline

editing of a UV data set. It is much like the MIRIAD task

TVFLAG, but it uses the PGPLOT display devices instead of

of the TV devices, which should make it more accessible.

When this program is run, the first selectable baseline is

displayed as a greyscale waterfall plot. The x-axis is

labelled as channel number (increasing to the right), while

the y-axis represents time (later is toward the top of the

plot). The colour intensity represents the amplitude or phase

(depending on the value of the keyword ``mode'') of the

visibility. At the very right and bottom edges of the plot

are averages of the data over all the channels and times

respectively. Between the right-hand average and the main

plot is a colour wedge that shows the amplitude/phase scaling.

At the top of the plot is a box with information about the

baseline that is being viewed, the last taken measurement,

and a guide to the commonly required action keys.

The user may edit the data by selecting a range of channels

and times with the mouse, and then flagging or unflagging

them. Selecting a range of channels and times is done by

selecting two points - one with the left mouse button and

one with the right mouse button - that bound the desired

range. When a selection is made with either the left mouse

button or the right mouse button, a green point will be

placed on the screen at the selected location. If both a

left mouse selection and a right mouse selection have been

made, a green box will be displayed that will have the two

selected points as opposite corners. Selecting another point

with either the left mouse button or the right mouse button

will move the appropriate corner of the box to form a new

selection.

To act upon this selection, or the plot itself, the user

should press one of the following keys while the cursor is

inside the main plot area:

abcCdfFgGhHjJkKlLmMnpPqrsStTRuvVxzZ ,<.?;[]12=!@*

Exiting PGFLAG:

a                Abort the editing procedure and quit

PGFLAG immediately without applying

any flags.

q                Apply any flagging that was requested

and then exit PGFLAG.

Editing data:

b                Blow away the dust: flag all visibilities

with less than 3 good neighbours

f                Flag the selected range of data on the

currently displayed baseline only.

F                Flag the selected range of data on all

the selectable baselines.

g                Unflag the selected range of data on the

currently displayed baseline only.

G                Unflag the selected range of data on all

the selectable baselines.

u                Undo the last flagging action - if the

last flagging action was an undo of a

previous flagging action, then the effect

will be to redo the flagging.

1                Flag the selected range of data on all

baselines A-n formed with the currently

displayed antenna A.

!                Unflag the selected range of data on all

baselines A-n formed with the currently

displayed antenna A.

2                Flag the selected range of data on all

baselines n-B formed with the currently

displayed antenna B.

@                Unflag the selected range of data on all

baselines n-B formed with the currently

displayed antenna B.

v                Flag all visibilities that have values

greater than the current maximum on the

scale on the displayed baseline, for this

baseline only.

V                Flag all visibilities that have values

greater than the current maximum on the

scale on the displayed baseline, for all

baselines.

<                Flag using SumThreshold method, using

the parameters in flagpar

T                Change the Threshold and other parameters

of the SumThreshold algorithm

rr               Remove all current user-specified flags

on this baseline; r must be pressed twice

in a row for safety as this procedure

cannot be undone.

RR               Remove all current user-specified flags

on all baselines; R must be pressed twice

in a row for safety as this procedure

cannot be undone.

?                Print some information about how many flagging

operations have been made so far in total

and on this baseline.

Manipulating the selection:

c                Extend the selection box to include all

the displayed channels; press it twice in a row

to extend to all channels.

t                Extend the selection box to include all

the displayed times; press it twice in a row to

extend to all times.

C                Clear the selected points.

Manipulating the plot:

z                Zoom into the selected region, ie. make

the selected region cover the entire plot,

and display green arrows on the sides of

the plot to indicate available scrolling

directions.

Z                Unzoom to show all the available data.

s                Unzoom to show all the available channels.

S                Unzoom to show all the available times.

h                Move the plot left by half the range shown

on the plot.

H                Move the plot left by the range shown on the

plot.

j                Move the plot down by half the range shown

on the plot.

J                Move the plot down by the range shown on the

plot.

k                Move the plot up by half the range shown

on the plot.

K                Move the plot up by the range shown on the

plot.

l                Move the plot right by half the range shown

on the plot.

L                Move the plot right by the range shown on the

plot.

n                Display the next selectable baseline in the

main plot, leaving the selection and zoom

as is.

p                Display the previous selectable baseline in

the main plot, leaving the selection and

zoom as is.

x                Subtract the average channel value from each

channel value in the main plot. Pressing this

key again adds back the average channel value

to each channel value. When the channel average

is being subtracted, the channel average box

at the bottom of the plot will be outlined in

red, otherwise it will be outlined in white.

d                Subtract the average time value from each

time value in the main plot. Pressing this

key again adds back the average time value to

each time value. When the time average is being

subtracted, the time average box at the right

of the plot will be outlined in red, otherwise

it will be outlined in white.

*                Subtract off a convolved version of the plot,

the convolution parameters are specified by

the flagpar parameters 2 and 3

,                Fiddle the amplitude scale; press this key

then click the left mouse button in the colour

wedge to set the maximum value, or the right

mouse button to set the minimum value.

.                Reset the user-set colour amplitude scale.

=                Autoscale plot from -10 to +10 times the

median absolute deviation

[                Enable switch to use only the currently

displayed points when deciding the colour

amplitude scale.

]                Set the colour amplitude scale from the current

selection region.

;                Lock the colour amplitude scale until it is

reset or fiddled.

Displaying information:

m                Display information about the sample

underneath the cursor, including the channel

number (and associated frequency), the

time, and the amplitude (or phase depending

on the ``mode'' setting); all this information

is shown at the top left of the plot in the red

box.

spacebar         Does the same thing as 'm', except it will show

the currently displayed value, which will be

different from the value displayed by 'm' if

the averages have been subtracted from the

display.

M                Locate the sample with the maximum value on

the currently displayed baseline, and print

information about it into the controlling

terminal. Pressing it twice in succession will

make PGFLAG create a selection region of 20

chans and 20 times centred on this sample.

P                Display the current selection on the secondary

plot device as a spectrum. This command will

work only if device2 is specified.

Non interactive flagging:

Using the command parameter and the flagpar parameters you can use

pgflag in non-interactive mode. The recommended strategy is to run

pgflag interactively, work out what flagpar parameters work best

using the * command to see the effect of background subtraction and

the < command to see the effects of SumThreshold flagging.

If too much or too little was flagged, change the parameters with

the 'T' command and undo the flagging with the 'rr' command and try

again. Once the right parameters are found you can abort with 'a' and

run pgflag with command set to "<" or "<b" to flag the entire dataset.

You can use options=nodisp if you don't want to watch the flagging,

if you do want to see what is happening, you'll want to specify

command='=<' or the like to scale the data for the display.

%A vis

Input visibility dataset to be flagged. No default.

%A line

This is the normal linetype specification. See the help on

"line" for more information. The default is all channels.

%A select

This selects which visibilities to be used. Default is all

visibilities. See the Users Guide for information about how

to specify uv data selection.

Default is all data

%A stokes

Select Stokes parameter(s) or polarization(s) from:

xx, yy, xy, yx,  i, q, u, v,

rr, ll, rl, lr

Default is Stokes i.

If more than one polarization is specified only the LAST one is

displayed.

If one 'raw' polarization is specified, only that one is flagged.

If multiple 'raw' polarizations or one or more 'converted'

polarizations are specified, all polarizations in the data are

flagged.

%A device

PGPLOT plot device/type, which must be interactive. No default.

%A device2

PGPLOT plot device/type, which must be interactive. This optional

plot device will be used to display spectra from the selected

region, if requested.

%A mode

Display ``amplitude'' or ``phase''. By default, ``amplitude''

is selected. For mode=``phase'', the phase is in degrees.

%A flagpar

Parameters for SumThreshold flagging (and dusting)

(see Offringa et al,2010, MNRAS 405,155)

1 : Threshold in estimated sigma's (estimated using the

median absolute deviation), default 7

2 : Convolution size for channel direction (in channels), used

to generate a smooth background, default 1. Zero disables

convolution in the channel direction.

3 : Convolution size for time direction (in integrations), used

to generate a smooth background, default 1. Zero disables

convolution in the time direction

4 : Number of iterations of the convolve/subtract/threshold

operation.The threshold level decreases by a factor of two

each iteration. Default 3

5 : Power of two of the maximum number of points used in the

SumThreshold operation (e.g., 5 -> 32 points). Default 5.

6 : Dust the plot - flag points with less than flagpar(6)

unflagged neighbours. Useful range 1-4, default 3.

%A command

Specify a series of commands for non-interactive flagging.

E.g., '<b' will apply SumThreshold flagging followed

by blowing away the dust, for each baseline;

'=vx=v' will autoscale the data, do a clip operation, then

subtract the channel average, autoscale and clip again before

moving on to the next baseline. There is no need to specify

a 'q' in the command sequence, unless you want to quit before

all baselines are processed. Default is no command.

%A options

Task enrichment parameters. Several can be given, separated by

commas. Minimum match is used. Possible values are:

selgen  Generate a file appropriate for selecting the bad data

(via a 'select' keyword). The output is two text files

called 'blflag_flag.select' (for flagging operations),

and 'blflag_unflag.select' (for unflagging operations).

Unfortunately, since 'select' does not support the use

of a 'channel' selection, this option is of limited use,

but is supplied in case time-based selection is all that

is required.

nosrc   Do not cause a break in the display when the source

changes. Normally PGFLAG puts a gap in the display

whenever the source changes.

noapply Do not apply the flagging.

nodisp  Do not use the display, just use the specified command

to flag all baselines in the dataset.

logstats Log flagging stats, not individual flags, this is the

default for non interactive flagging

The following options can be used to disable calibration.

nocal   Do not apply antenna gain calibration.

nopass  Do not apply bandpass correction.

nopol   Do not apply polarisation leakage correction.